RB150 LIFT

RB150 Technical Specifications

Lifting height:                               From 600 mm to 3000 mm

Number of stops:                         2

Rated load:                                   400 kg

Platform size:                               1100 x 1400 (standard)

External dimensions:                  1300 x 1760 (standard)

Cabin height:                                1100 mm

Doors:                                            950 x 1100 mm

Drive type:                                    Belt drive

Power supply:                              220–240V, 1 phase, 25A 380–400V, 3 phase, 16A, 50Hz

Lighting:                                        Illuminated buttons

Handles:                                        Integrated into the lift cabin (on both sides)

Flooring:                                        Non-slip textured rubber or non-slip aluminium                         Plate

Colour:                                           RAL 9006 (standard)

*other colours available

*outdoor lift have AISI 304 stainless steel finish

Technical safety equipment: Protective perimeter under the platform (optional), emergency stop buttons inside the platform, electronic speed control, overload detectors, door opening and locking control, belt tension sensors, electronic engine control. Compliance with European Directives: 2006/42/EC